Companies interested in Collocation with altafiber Network Solutions must submit an application for each Central Office in which they wish to place their equipment. After the Collocation Application is submitted and the collocation arrangement delivered, any augmentation to that arrangement must also be accompanied by a completed Collocation Application.

In order to make it easier for you to complete the Collocation Application, we’ve prepared this basic set of instructions.

| Section | Contents |
| --- | --- |
| 1 | General Information – Insert Collocator’s Company Name and ACNA, Mailing Address, City/State/Zip and a Primary Contact Name along with the Date you submit this application to altafiber. NOTE: Include Single Point of Contact for Security Badges in this section. |
| 2 | Collocation Information - List all information related to the location (Central Office name, etc) where you wish to establish a collocation arrangement (Note: you may apply for collocation in multiple locations, however, each location request must be accompanied by a completed Collocation Application form(s).) |
| 3 | Collocation Request Type – specify what type of collocation you are requested by completing the appropriate section as defined below. Note: All applications, must be accompanied by a non-refundable, $1,481.66 “Application Fee.” New Arrangement Installation – Complete this section for a NEW collocation arrangement. If for Shared CAGED, check box and list ACNA and what percent of the cage will be owned by each Collector. Augmentation of Existing Arrangement – Complete this for additions to an existing collocation arrangement. Identify the location where the requested augmentation will be performed by its CLLI code. Existing Arrangement – PARTIAL disconnects and/or removals - Use this section to identify an existing collocation arrangement where you want to make partial additions, disconnects and/or removal of equipment. This section is not intended to be used where new wiring, power or additional cabling is required. Existing Arrangement; COMPLETE equipment disconnect and removal. Identify the location where you want to remove and disconnect all of your equipment and surrender the space back to altafiber. |
| 4 | Contact Information – List all your company’s contacts on this page. If your company does not have a contact for a given area, please indicate this with an “NA”. The person completing this form is the Application Contact. |
| 5 | Floor Space Requirements – Use this section to indicate the floor space requirements you have for each option of collocation arrangement you select. Note: altafiber’s standard floor space requirement is 102 sq ft. . Use this area to describe modifications to fencing for Caged Collocation arrangements. |
| 6 | Equipment to be Installed or Removed by Collocator – Provide information about the equipment installed/removed. Include in Col1, the assigned Bay Number where the equipment will be located/removed. In Cols 2-4 provide Equipment’s manufacturer, model number and a brief description. In Col 5, indicate the quantity to be added to the collocation arrangement; likewise, in Col 6, include the number to be removed. NOTE: You cannot add and remove facilities in the same order. In Cols 7 and 8, provide the maximum heat disappation in Watts and BTUs. In column 9, provide the floor loading of the equipment in lbs. /sq. in. In Column 11, provide the Total DC power requirements (watts) and in Col 12, the MAX load the equipment can draw, according to its specifications. Make sure all affected Bay numbers are reflected on the floorplan drawing that is attached to the application. |
| 7 | Equipment Bay Requirements for Cageless Arrangements – Indicate the total number of Bays to be installed, added and/or removed from an existing Collocation Arrangement. Define the size of the collocation space through listing the dimensions of the equipment. ! Show all dimensions in inches. |
| 8 | Power and Grounding Requirements – Indicate your power requirements, including fusing and grounding specifications |
| 9 | Interconnection Requirements – Indicate the number of interconnection cabling including copper and/or fiber strands required to connect your collocated equipment to altafiber’s Network. Also, describe any interconnection panels required. In addition, specify your synchronization requirements. |
| 10 | Entrance Facilities – Describe your entrance facilities including number of cables, size, type and manufacturer. If you plan on using Microwave entrance facilities, enter the required details here. |
| 11 | Collocator Vendor Information – List all vendors you plan to use in the appropriate spaces shown. |
| 12 | Forecasted Requirements – Use this table to indicate your plans for expansion over the next five years. This forecast information will be useful for long range planning. |
| 13 | Insurance Information – Indicate your Carrier, Policy number and Expiration date of your coverage. Also attach proof of coverage to the application. |
| 14 | List of Attachments – List all attachments to this application. |

Note:  To obtain access to your collocation space for your Contractors and Staff, please contact 513-397-KEYS (5397)